## PPO4 traps 15Feb2017
Cruise | [11 empty] | Cruise
Date run | 2017-02-15 | [7 empty] | g | Di water | conc P (mM) | Date run | 2017-02-15 | [7 empty] | g | Di water | conc P (mM)
Analysis | sediment trap | [6 empty] | NIST std | 0.06 | 10.0658 | 0.30599 | Analysis | sediment trap | [6 empty] | NIST std | 0.06 | 10.0658 | 0.30599
Analyst | KB | [6 empty] | P (g/gNIST) |  |  |  | Analyst | KB | [6 empty] | P (g/gNIST)
revised date | [7 empty] | 0.00159 |  |  |  | revised date | [7 empty] | 0.00159
| µM | [11 empty] | µM
Primary std | 100 | [10 empty] | Primary std | 100
| ml prim std | final vol | conc (µM) | [9 empty] | ml prim std | final vol | conc (µM)
Mw P | 30.9738 | [10 empty] | Mw P | 30.9738
Extraction volume (mL) | 10 | [10 empty] | Extraction volume (mL) | 10
| stock |  |  | 10 cm cell | [8 empty] | stock |  |  | 1 cm cell
Standards | volume | volume | conc | abs | [7 empty] | Standards | volume | volume | conc | abs
target (uM) | (ml) | (ml) | (µM-P) |  |  | slope | inters |  |  |  |  | target (uM) | (ml) | (ml) | (µM-P) |  |  | slope | inters
S0 | 0 | 5 | 0 | 0.0029 | 0.045794 | 0.18828 | -0.005722 |  |  |  |  | S0 | 0 | 5 | 0 | 0.0006 | 0.033578 | 0.020171 | -0.0001099
S0 |  | 5 | 0 | 0.0036 | 0.049512 | 0.0034427 | 0.0030431 |  |  |  |  | S0 |  | 5 | 0 | 0.0006 | 0.033578 | 0.00027693 | 0.00024479
S1 |  | 5 | 0.18286 | 0.0274 | 0.17592 | 0.99733 | 0.0066714 |  |  |  |  | S1 |  | 5 | 0.18286 | 0.0034 | 0.048449 | 0.99849 | 0.00053664
S2 |  | 5 | 0.24184 | 0.0345 | 0.21363 | 2990.8825 | 8 |  |  |  |  | S2 |  | 5 | 0.24184 | 0.0045 | 0.054292 | 5305.3745 | 8
S3 |  | 5 | 0.36572 | 0.0558 | 0.32676 | 0.13312 | 0.00035606 |  |  |  |  | S3 |  | 5 | 0.36572 | 0.0069 | 0.067039 | 0.0015279 | 2.3039e-06
S4 |  | 5 | 0.48367 | 0.0804 | 0.45742 | [6 empty] | S4 |  | 5 | 0.48367 | 0.0091 | 0.078724
S5 |  | 5 | 0.73144 | 0.1253 | 0.69589 | [6 empty] | S5 |  | 5 | 0.73144 | 0.0139 | 0.10422
S6 |  | 5 | 0.96735 | 0.1767 | 0.96889 | [6 empty] | S6 |  | 5 | 0.96735 | 0.0195 | 0.13396
S7 | 0.1496 | 10.2264 | 1.4629 | 0.2761 | 1.4968 | [6 empty] | S7 | 0.1496 | 10.2264 | 1.4629 | 0.0298 | 0.18867
S8 | 0.1992 | 10.2962 | 1.9347 | 0.3595 | 1.9398 | [6 empty] | S8 | 0.1992 | 10.2962 | 1.9347 | 0.0391 | 0.23806
|  |  | expected | abs | conc | % of expect | [8 empty] | expected | abs | conc | % of expect
OSIL1 | 0.0248 | 5.059 | 0.49022 | 0.0837 | 0.47495 | 96.885 | [5 empty] | OSIL1 | 0.0248 | 5.059 | 0.49022 | 0.0097 | 0.48633 | 99.2083
OSIL2 | 0.0247 | 5.0551 | 0.48862 | 0.0877 | 0.49619 | 101.5502 | [5 empty] | OSIL2 | 0.0247 | 5.0551 | 0.48862 | 0.0101 | 0.50616 | 103.5917
OSIL3 | 0.0248 | 5.0257 | 0.49346 | 0.0858 | 0.4861 | 98.5075 | [5 empty] | OSIL3 | 0.0248 | 5.0257 | 0.49346 | 0.0102 | 0.51112 | 103.5786
|  |  | expected | abs | conc | % of expect | [8 empty] | expected | abs | conc | % of expect
NIST1 | 0.0494 |  | 1.6144 | 0.2577 | 1.2811 | 79.3515 | [5 empty] | NIST1 | 0.0494 |  | 1.6144 | 0.0283 | 1.2724 | 78.8167
NIST2 | 0.0498 |  | 1.6275 | 0.2636 | 1.3124 | 80.6396 | [5 empty] | NIST2 | 0.0498 |  | 1.6275 | 0.0287 | 1.2923 | 79.4021
NIST3 | 0.0502 |  | 1.6406 | 0.2725 | 1.3597 | 82.8783 | [5 empty] | NIST3 | 0.0502 |  | 1.6406 | 0.0298 | 1.3468 | 82.0935
Sample | Abs. | [10 empty] | Sample | Abs.
Filter Bl | 0.016 | [10 empty] | Filter Bl | 0.0026
Filter Bl | 0.0157 | [10 empty] | Filter Bl | 0.0026
Filter Bl | 0.0178 | [10 empty] | Filter Bl | 0.0027
mean BL | 0.0165 | [10 empty] | mean BL | 0.0026333
|  |  | filtered | Conc | [10 empty] | filtered | Conc
Sample | Sample | Weight | Abs. | (nmol filter) | nmol/mg | mean | sd/% |  |  |  |  | Sample | Sample | Weight | Abs. | (nmol filter) | nmol/mg | mean | sd/%
|  | (mg) | [11 empty] | (mg)
1 | 500 m | 0.4364 | 0.3477 | 17.591 | 40.3092 | 42.7381 | 4.1798 |  |  |  |  | 1 | 500 m | 0.4364 | 0.0378 | 17.4342 | 39.95 | 38.9759 | 2.6137
2 |  | 0.1646 | 0.1569 | 7.457 | 45.304 |  | 9.7801 |  |  |  |  | 2 |  | 0.1646 | 0.0157 | 6.4779 | 39.3555 |  | 6.7059
3 |  | 0.1781 | 0.1446 | 6.8037 | 38.2018 | [6 empty] | 3 |  | 0.1781 | 0.0153 | 6.2796 | 35.2589
4 |  | 0.1591 | 0.1577 | 7.4995 | 47.1372 | [6 empty] | 4 |  | 0.1591 | 0.0159 | 6.5771 | 41.3392
5 | 300 m | 0.1532 | 0.1517 | 7.1808 | 46.8724 | 48.713 | 3.267 |  |  |  |  | 5 | 300 m | 0.1532 | 0.0163 | 6.7754 | 44.2257 | 46.6198 | 2.9758
6 |  | 0.22 | 0.2339 | 11.5467 | 52.4851 |  | 6.7067 |  |  |  |  | 6 |  | 0.22 | 0.0248 | 10.9893 | 49.9515 |  | 6.3832
7 |  | 0.2156 | 0.2064 | 10.0861 | 46.7816 | [6 empty] | 7 |  | 0.2156 | 0.0225 | 9.8491 | 45.6822
8 | 250 m A | 0.116 | 0.1455 | 6.8516 | 59.0651 | 57.4795 | 3.9837 |  |  |  |  | 8 | 250 m A | 0.116 | 0.015 | 6.1309 | 52.8524 | 53.1858 | 3.0346
9 | 250 m B | 0.2782 | 0.3131 | 15.7533 | 56.6256 |  | 6.9307 |  |  |  |  | 9 | 250 m B | 0.2782 | 0.0324 | 14.7571 | 53.0449 |  | 5.7056
10 | 250 m B | 0.1594 | 0.202 | 9.8524 | 61.8094 | [6 empty] | 10 | 250 m B | 0.1594 | 0.021 | 9.1054 | 57.1232
11 | 250 m B | 0.1911 | 0.2051 | 10.0171 | 52.418 | [6 empty] | 11 | 250 m B | 0.1911 | 0.0218 | 9.502 | 49.7229
12 | 200 m | 0.1347 | 0.1933 | 9.3903 | 69.713 | 69.462 | 0.4164 |  |  |  |  | 12 | 200 m | 0.1347 | 0.0202 | 8.7088 | 64.6535 | 66.5677 | 1.727
13 |  | 0.1871 | 0.2595 | 12.9064 | 68.9813 |  | 0.59947 |  |  |  |  | 13 |  | 0.1871 | 0.0283 | 12.7245 | 68.009 |  | 2.5943
14 |  | 0.1935 | 0.2704 | 13.4853 | 69.6917 | [6 empty] | 14 |  | 0.1935 | 0.0288 | 12.9724 | 67.0406
15 | 175 m | 0.1413 | 0.1954 | 9.5019 | 67.2461 | 67.7174 | 4.0893 |  |  |  |  | 15 | 175 m | 0.1413 | 0.0211 | 9.155 | 64.7913 | 67.784 | 4.5174
16 |  | 0.1396 | 0.2058 | 10.0543 | 72.0219 |  | 6.0387 |  |  |  |  | 16 |  | 0.1396 | 0.0211 | 9.155 | 65.5803 |  | 6.6644
17 |  | 0.1499 | 0.1968 | 9.5762 | 63.8842 | [6 empty] | 17 |  | 0.1499 | 0.0247 | 10.9397 | 72.9803
18 | 160 m | 0.2346 | 0.3452 | 17.4582 | 74.4168 | 78.3629 | 5.1732 |  |  |  |  | 18 | 160 m | 0.2346 | 0.0374 | 17.2359 | 73.4692 | 77.3476 | 5.2338
19 |  | 0.1618 | 0.2494 | 12.37 | 76.4522 |  | 6.6016 |  |  |  |  | 19 |  | 0.1618 | 0.0272 | 12.1791 | 75.2728 |  | 6.7666
20 |  | 0.2206 | 0.3663 | 18.5789 | 84.2196 | [6 empty] | 20 |  | 0.2206 | 0.0397 | 18.3761 | 83.3007
21 | 150 m | 0.2089 | 0.3414 | 17.2563 | 82.6058 | 84.912 | 4.5634 |  |  |  |  | 21 | 150 m | 0.2089 | 0.0363 | 16.6905 | 79.8973 | 80.8877 | 2.2662
22 |  | 0.1548 | 0.2793 | 13.958 | 90.1682 |  | 5.3742 |  |  |  |  | 22 |  | 0.1548 | 0.0287 | 12.9228 | 83.4805 |  | 2.8016
23 |  | 0.183 | 0.2989 | 14.9991 | 81.962 | [6 empty] | 23 |  | 0.183 | 0.0319 | 14.5092 | 79.2853
24 | 140 m | 0.2067 | 0.3675 | 18.6426 | 90.1915 | 86.7827 | 3.6527 |  |  |  |  | 24 | 140 m | 0.2067 | 0.039 | 18.0291 | 87.2235 | 84.8898 | 2.603
25 |  | 0.2083 | 0.3586 | 18.1699 | 87.2294 |  | 4.2091 |  |  |  |  | 25 |  | 0.2083 | 0.0385 | 17.7812 | 85.3635 |  | 3.0663
26 |  | 0.1671 | 0.2774 | 13.8571 | 82.9272 | [6 empty] | 26 |  | 0.1671 | 0.0303 | 13.716 | 82.0825
27 | 130 m | 0.1866 | 0.3768 | 19.1365 | 102.5538 | 100.1427 | 2.2954 |  |  |  |  | 27 | 130 m | 0.1866 | 0.0413 | 19.1693 | 102.7296 | 102.4468 | 0.28283
28 |  | 0.1334 | 0.2626 | 13.0711 | 97.9839 |  | 2.2921 |  |  |  |  | 28 |  | 0.1334 | 0.0302 | 13.6664 | 102.4469 |  | 0.27607
29 |  | 0.2381 | 0.4643 | 23.7839 | 99.8904 | [6 empty] | 29 |  | 0.2381 | 0.0517 | 24.3252 | 102.1639
30 | 120 m | 0.1773 | 0.4893 | 25.1117 | 141.6341 | 99.398 | 2.7682 | filter debris on side of tube |  |  |  | 30 | 120 m | 0.1773 | 0.0537 | 25.3167 | 142.7905 | 100.375 | 1.5084 | filter debris
31 |  | 0.211 | 0.4036 | 20.56 | 97.4406 |  | 2.7849 |  |  |  |  | 31 |  | 0.211 | 0.0449 | 20.9541 | 99.3084 |  | 1.5027
32 |  | 0.1963 | 0.3911 | 19.8961 | 101.3553 | [6 empty] | 32 |  | 0.1963 | 0.0428 | 19.913 | 101.4416
33 | 110 m | 0.3045 | 0.5593 | 28.8296 | 94.6786 | 93.7187 | 1.2764 |  |  |  |  | 33 | 110 m | 0.3045 | 0.0616 | 29.2332 | 96.0041 | 92.7893 | 2.9611
34 |  | 0.1918 | 0.3567 | 18.069 | 94.2074 |  | 1.362 |  |  |  |  | 34 |  | 0.1918 | 0.0383 | 17.6821 | 92.1901 |  | 3.1912
35 |  | 0.1686 | 0.3094 | 15.5567 | 92.2701 | [6 empty] | 35 |  | 0.1686 | 0.0333 | 15.2033 | 90.1736
36 | 100 m | 0.1166 | 0.2579 | 12.8214 | 109.9608 | 119.1238 | 7.9366 |  |  |  |  | 36 | 100 m | 0.1166 | 0.0276 | 12.3774 | 106.153 | 133.1381 | 23.8985
37 |  | 0.1637 | 0.3982 | 20.2732 | 123.8433 |  | 6.6625 |  |  |  |  | 37 |  | 0.1637 | 0.0494 | 23.185 | 141.6309 |  | 17.9502
38 |  | 0.1856 | 0.4483 | 22.9341 | 123.5674 | [6 empty] | 38 |  | 0.1856 | 0.0594 | 28.1426 | 151.6302
39 | AL8-5 | 0.1708 | 0.1051 | 4.7058 | 27.5515 | 31.1586 | 3.1304 |  |  |  |  | 39 | AL8-5 | 0.1708 | 0.0164 | 6.8249 | 39.9587 | 42.3765 | 6.5416
40 |  | 0.1905 | 0.134 | 6.2408 | 32.7599 |  | 10.0465 |  |  |  |  | 40 |  | 0.1905 | 0.017 | 7.1224 | 37.3879 |  | 15.4368
41 |  | 0.2556 | 0.1761 | 8.4768 | 33.1643 | [6 empty] | 41 |  | 0.2556 | 0.0283 | 12.7245 | 49.7828
42 | AL8-17 | 0.1645 | 0.0969 | 4.2703 | 25.9591 | 23.7744 | 1.9464 |  |  |  |  | 42 | AL8-17 | 0.1645 | 0.0123 | 4.7923 | 29.1327 | 29.3036 | 4.636
43 |  | 0.1496 | 0.0791 | 3.3249 | 22.225 |  | 8.1871 |  |  |  |  | 43 |  | 0.1496 | 0.0129 | 5.0898 | 34.0227 |  | 15.8204
44 |  | 0.2036 | 0.1052 | 4.7111 | 23.139 | [6 empty] | 44 |  | 0.2036 | 0.0128 | 5.0402 | 24.7555
45 | AL6-18 | 0.2129 | 0.1261 | 5.8212 | 27.3422 | 35.4124 | 7.0731 |  |  |  |  | 45 | AL6-18 | 0.2129 | 0.0141 | 5.6847 | 26.7013 | 34.1793 | 6.535
46 |  | 0.1548 | 0.1283 | 5.938 | 38.3592 |  | 19.9736 |  |  |  |  | 46 |  | 0.1548 | 0.0142 | 5.7343 | 37.0431 |  | 19.1197
47 |  | 0.1951 | 0.1654 | 7.9085 | 40.5356 | [6 empty] | 47 |  | 0.1951 | 0.0179 | 7.5686 | 38.7934
|  |  | nmolmg | stdv
Depth
|  | 500 | 42.7381 | 4.1798 | 38.9759 | 2.6137 |  | 3.7622
|  | 300 | 48.713 | 3.267 | 46.6198 | 2.9758 |  | 2.0933
|  | 250 | 57.4795 | 3.9837 | 53.1858 | 3.0346 |  | 4.2937
|  | 200 | 69.462 | 0.4164 | 66.5677 | 1.727 |  | 2.8943
|  | 175 | 67.7174 | 4.0893 | 67.784 | 4.5174 |  | -0.066581
|  | 160 | 78.3629 | 5.1732 | 77.3476 | 5.2338 |  | 1.0153
|  | 150 | 84.912 | 4.5634 | 80.8877 | 2.2662 |  | 4.0243
|  | 140 | 86.7827 | 3.6527 | 84.8898 | 2.603 |  | 1.8929
|  | 130 | 100.1427 | 2.2954 | 102.4468 | 0.28283 |  | -2.3041
|  | 120 | 99.398 | 2.7682 | 100.375 | 1.5084 |  | -0.97702
|  | 110 | 93.7187 | 1.2764 | 92.7893 | 2.9611 |  | 0.92941
|  | 100 | 119.1238 | 7.9366 | 133.1381 | 23.8985 |  | -14.0142
|  | AL8-5 | 31.1586 | 3.1304 | 42.3765 | 6.5416 |  | -11.2179
|  | AL8-17 | 23.7744 | 1.9464 | 29.3036 | 4.636 |  | -5.5293
|  | AL8-18 | 35.4124 | 7.0731 | 34.1793 | 6.535 |  | 1.2331

## ugP calculation
CALCULATED % OF P
measured
| nmolP | umolP | ugP | ug sample | % P | P-mg/mg
HOE-PhoR-II
10 cm cell
100A | 12.8214 | 0.012821 | 0.39713 | 116.6 | 0.34059 | 0.0034059 | weight noted as questionable
100B | 20.2732 | 0.020273 | 0.62794 | 163.7 | 0.38359 | 0.0038359
100C | 22.9341 | 0.022934 | 0.71036 | 185.6 | 0.38274 | 0.0038274
110A | 28.8296 | 0.02883 | 0.89296 | 304.5 | 0.29326 | 0.0029326
110B | 18.069 | 0.018069 | 0.55966 | 191.8 | 0.2918 | 0.002918
110C | 15.5567 | 0.015557 | 0.48185 | 168.6 | 0.2858 | 0.002858
120A | 25.1117 | 0.025112 | 0.77781 | 177.3 | 0.43869 | 0.0043869 | sample suspect
120B | 20.56 | 0.02056 | 0.63682 | 211 | 0.30181 | 0.0030181
120C | 19.8961 | 0.019896 | 0.61626 | 196.3 | 0.31394 | 0.0031394
130A | 19.1365 | 0.019137 | 0.59273 | 186.6 | 0.31765 | 0.0031765
130B | 13.0711 | 0.013071 | 0.40486 | 133.4 | 0.30349 | 0.0030349
130C | 23.7839 | 0.023784 | 0.73668 | 238.1 | 0.3094 | 0.003094
140A | 18.6426 | 0.018643 | 0.57743 | 206.7 | 0.27936 | 0.0027936
140B | 18.1699 | 0.01817 | 0.56279 | 208.3 | 0.27018 | 0.0027018
140C | 13.8571 | 0.013857 | 0.42921 | 167.1 | 0.25686 | 0.0025686
150A | 17.2563 | 0.017256 | 0.53449 | 208.9 | 0.25586 | 0.0025586
150B | 13.958 | 0.013958 | 0.43233 | 154.8 | 0.27929 | 0.0027929
150C | 14.9991 | 0.014999 | 0.46458 | 183 | 0.25387 | 0.0025387
160A | 17.4582 | 0.017458 | 0.54075 | 234.6 | 0.2305 | 0.002305
160B | 12.37 | 0.01237 | 0.38314 | 161.8 | 0.2368 | 0.002368
160C | 18.5789 | 0.018579 | 0.57546 | 220.6 | 0.26086 | 0.0026086
175A | 9.5019 | 0.0095019 | 0.29431 | 141.3 | 0.20829 | 0.0020829
175B | 10.0543 | 0.010054 | 0.31142 | 139.6 | 0.22308 | 0.0022308
175C | 9.5762 | 0.0095762 | 0.29661 | 149.9 | 0.19787 | 0.0019787
200A | 9.3903 | 0.0093903 | 0.29085 | 134.7 | 0.21593 | 0.0021593
200B | 12.9064 | 0.012906 | 0.39976 | 187.1 | 0.21366 | 0.0021366
200C | 13.4853 | 0.013485 | 0.41769 | 193.5 | 0.21586 | 0.0021586
250A | 6.8516 | 0.0068516 | 0.21222 | 116 | 0.18295 | 0.0018295
250B | 15.7533 | 0.015753 | 0.48794 | 278.2 | 0.17539 | 0.0017539
250C | 9.8524 | 0.0098524 | 0.30517 | 159.4 | 0.19145 | 0.0019145
250D | 10.0171 | 0.010017 | 0.31027 | 191.1 | 0.16236 | 0.0016236
300A | 7.1808 | 0.0071808 | 0.22242 | 153.2 | 0.14518 | 0.0014518
300B | 11.5467 | 0.011547 | 0.35765 | 220 | 0.16257 | 0.0016257
300C | 10.0861 | 0.010086 | 0.31241 | 215.6 | 0.1449 | 0.001449
500A | 17.591 | 0.017591 | 0.54486 | 436.4 | 0.12485 | 0.0012485
500B | 7.457 | 0.007457 | 0.23097 | 164.6 | 0.14032 | 0.0014032
500C | 6.8037 | 0.0068037 | 0.21074 | 178.1 | 0.11833 | 0.0011833
500C | 7.4995 | 0.0074995 | 0.23229 | 159.1 | 0.146 | 0.00146
HOE-PhoR-II
1 cm cell
100A | 12.3774 | 0.012377 | 0.38338 | 116.6 | 0.3288 | 0.003288 | weight noted as questionable
100B | 23.185 | 0.023185 | 0.71813 | 163.7 | 0.43868 | 0.0043868
100C | 28.1426 | 0.028143 | 0.87168 | 185.6 | 0.46966 | 0.0046966
110A | 29.2332 | 0.029233 | 0.90546 | 304.5 | 0.29736 | 0.0029736
110B | 17.6821 | 0.017682 | 0.54768 | 191.8 | 0.28555 | 0.0028555
110C | 15.2033 | 0.015203 | 0.4709 | 168.6 | 0.2793 | 0.002793
120A | 25.3167 | 0.025317 | 0.78416 | 177.3 | 0.44228 | 0.0044228 | sample suspect
120B | 20.9541 | 0.020954 | 0.64903 | 211 | 0.3076 | 0.003076
120C | 19.913 | 0.019913 | 0.61678 | 196.3 | 0.3142 | 0.003142
130A | 19.1693 | 0.019169 | 0.59375 | 186.6 | 0.31819 | 0.0031819
130B | 13.6664 | 0.013666 | 0.4233 | 133.4 | 0.31732 | 0.0031732
130C | 24.3252 | 0.024325 | 0.75344 | 238.1 | 0.31644 | 0.0031644
140A | 18.0291 | 0.018029 | 0.55843 | 206.7 | 0.27016 | 0.0027016
140B | 17.7812 | 0.017781 | 0.55075 | 208.3 | 0.2644 | 0.002644
140C | 13.716 | 0.013716 | 0.42484 | 167.1 | 0.25424 | 0.0025424
150A | 16.6905 | 0.016691 | 0.51697 | 208.9 | 0.24747 | 0.0024747
150B | 12.9228 | 0.012923 | 0.40027 | 154.8 | 0.25857 | 0.0025857
150C | 14.5092 | 0.014509 | 0.44941 | 183 | 0.24558 | 0.0024558
160A | 17.2359 | 0.017236 | 0.53386 | 234.6 | 0.22756 | 0.0022756
160B | 12.1791 | 0.012179 | 0.37723 | 161.8 | 0.23315 | 0.0023315
160C | 18.3761 | 0.018376 | 0.56918 | 220.6 | 0.25801 | 0.0025801
175A | 9.155 | 0.009155 | 0.28357 | 141.3 | 0.20068 | 0.0020068
175B | 9.155 | 0.009155 | 0.28357 | 139.6 | 0.20313 | 0.0020313
175C | 10.9397 | 0.01094 | 0.33885 | 149.9 | 0.22605 | 0.0022605
200A | 8.7088 | 0.0087088 | 0.26975 | 134.7 | 0.20026 | 0.0020026
200B | 12.7245 | 0.012724 | 0.39413 | 187.1 | 0.21065 | 0.0021065
200C | 12.9724 | 0.012972 | 0.4018 | 193.5 | 0.20765 | 0.0020765
250A | 6.1309 | 0.0061309 | 0.1899 | 116 | 0.1637 | 0.001637
250B | 14.7571 | 0.014757 | 0.45708 | 278.2 | 0.1643 | 0.001643
250C | 9.1054 | 0.0091054 | 0.28203 | 159.4 | 0.17693 | 0.0017693
250D | 9.502 | 0.009502 | 0.29431 | 191.1 | 0.15401 | 0.0015401
300A | 6.7754 | 0.0067754 | 0.20986 | 153.2 | 0.13698 | 0.0013698
300B | 10.9893 | 0.010989 | 0.34038 | 220 | 0.15472 | 0.0015472
300C | 9.8491 | 0.0098491 | 0.30506 | 215.6 | 0.1415 | 0.001415
500A | 17.4342 | 0.017434 | 0.54 | 436.4 | 0.12374 | 0.0012374
500B | 6.4779 | 0.0064779 | 0.20065 | 164.6 | 0.1219 | 0.001219
500C | 6.2796 | 0.0062796 | 0.1945 | 178.1 | 0.10921 | 0.0010921
500D | 6.5771 | 0.0065771 | 0.20372 | 159.1 | 0.12804 | 0.0012804
10 cm cell
AL6-1 | 5.7672 | 0.0057672 | 0.17863 | 258.3 | 0.069157 | 0.00069157
| 3.5472 | 0.0035472 | 0.10987 | 170 | 0.06463 | 0.0006463
| 5.8155 | 0.0058155 | 0.18013 | 206.7 | 0.087144 | 0.00087144
| 7.1185 | 0.0071185 | 0.22049 | 253.3 | 0.087046 | 0.00087046
| 3.5955 | 0.0035955 | 0.11137 | 135.3 | 0.08231 | 0.0008231
AL6-18 | 5.8212 | 0.0058212 | 0.1803 | 212.9 | 0.084689 | 0.00084689
| 5.938 | 0.005938 | 0.18392 | 154.8 | 0.11881 | 0.0011881
| 7.9085 | 0.0079085 | 0.24496 | 195.1 | 0.12555 | 0.0012555
AL8-5 | 4.7058 | 0.0047058 | 0.14576 | 170.8 | 0.085337 | 0.00085337
| 6.2408 | 0.0062408 | 0.1933 | 190.5 | 0.10147 | 0.0010147
| 8.4768 | 0.0084768 | 0.26256 | 255.6 | 0.10272 | 0.0010272
AL8-17 | 4.2703 | 0.0042703 | 0.13227 | 164.5 | 0.080405 | 0.00080405
| 3.3249 | 0.0033249 | 0.10298 | 149.6 | 0.068839 | 0.00068839
| 4.7111 | 0.0047111 | 0.14592 | 203.6 | 0.07167 | 0.0007167

## P composition
CALCULATED % P
Sample | TOTAL MASS | TOTAL MASS
Name | (mg) | (ug) | measured | [5 empty] | 10cm |  |  | 1cm
|  |  | ugP | ug sample weighed | ugP per ug sample | ugP per depth | mgP per Depth | % P | Average | STDEV/Diff | CV | Average | STDEV/Diff | CV
10cm | [6 empty] | Total |  | % P |  |  | % P
100A | 45.7931 | 45793.1 | 0.39713 | 116.6 | 0.0034059 | 155.9669 | 0.15597 | 0.34059 | [6 empty] | weight noted as questionable
100B |  |  | 0.62794 | 163.7 | 0.0038359 | 175.6577 | 0.17566 | 0.38359
100C |  |  | 0.71036 | 185.6 | 0.0038274 | 175.2663 | 0.17527 | 0.38274 | 0.38316 | 0.00085475 | 0.2231% | 0.45417 | 0.030972 | 6.819%
110A | 46.7688 | 46768.7667 | 0.89296 | 304.5 | 0.0029326 | 137.152 | 0.13715 | 0.29326
110B |  |  | 0.55966 | 191.8 | 0.002918 | 136.4694 | 0.13647 | 0.2918
110C |  |  | 0.48185 | 168.6 | 0.002858 | 133.663 | 0.13366 | 0.2858 | 0.29028 | 0.0039536 | 1.362% | 0.2874 | 0.0091715 | 3.191%
120A | 40.7464 | 40746.4 | 0.77781 | 177.3 | 0.0043869 | 178.7523 | 0.17875 | 0.43869 | [6 empty] | sample suspect
120B |  |  | 0.63682 | 211 | 0.0030181 | 122.9769 | 0.12298 | 0.30181
120C |  |  | 0.61626 | 196.3 | 0.0031394 | 127.9176 | 0.12792 | 0.31394 | 0.30787 | 0.012125 | 3.938% | 0.3109 | 0.0066072 | 2.125%
130A | 39.0135 | 39013.5 | 0.59273 | 186.6 | 0.0031765 | 123.9256 | 0.12393 | 0.31765
130B |  |  | 0.40486 | 133.4 | 0.0030349 | 118.4034 | 0.1184 | 0.30349
130C |  |  | 0.73668 | 238.1 | 0.003094 | 120.7072 | 0.12071 | 0.3094 | 0.31018 | 0.0071096 | 2.292% | 0.31732 | 0.00087602 | 0.2761%
140A | 36.5867 | 36586.7 | 0.57743 | 206.7 | 0.0027936 | 102.2077 | 0.10221 | 0.27936
140B |  |  | 0.56279 | 208.3 | 0.0027018 | 98.8509 | 0.098851 | 0.27018
140C |  |  | 0.42921 | 167.1 | 0.0025686 | 93.9755 | 0.093975 | 0.25686 | 0.2688 | 0.011314 | 4.209% | 0.26294 | 0.0080625 | 3.066%
150A | 34.8873 | 34887.2667 | 0.53449 | 208.9 | 0.0025586 | 89.2631 | 0.089263 | 0.25586
150B |  |  | 0.43233 | 154.8 | 0.0027929 | 97.435 | 0.097435 | 0.27929
150C |  |  | 0.46458 | 183 | 0.0025387 | 88.5675 | 0.088567 | 0.25387 | 0.263 | 0.014135 | 5.374% | 0.25054 | 0.0070192 | 2.802%
160A | 36.1556 | 36155.6 | 0.54075 | 234.6 | 0.002305 | 83.3376 | 0.083338 | 0.2305
160B |  |  | 0.38314 | 161.8 | 0.002368 | 85.617 | 0.085617 | 0.2368
160C |  |  | 0.57546 | 220.6 | 0.0026086 | 94.3156 | 0.094316 | 0.26086 | 0.24272 | 0.016023 | 6.602% | 0.23957 | 0.016211 | 6.767%
175A | 28.0341 | 28034.0667 | 0.29431 | 141.3 | 0.0020829 | 58.3913 | 0.058391 | 0.20829
175B |  |  | 0.31142 | 139.6 | 0.0022308 | 62.5381 | 0.062538 | 0.22308
175C |  |  | 0.29661 | 149.9 | 0.0019787 | 55.472 | 0.055472 | 0.19787 | 0.20975 | 0.012666 | 6.039% | 0.20995 | 0.013992 | 6.664%
200A | 29.6946 | 29694.6 | 0.29085 | 134.7 | 0.0021593 | 64.1189 | 0.064119 | 0.21593
200B |  |  | 0.39976 | 187.1 | 0.0021366 | 63.4459 | 0.063446 | 0.21366
200C |  |  | 0.41769 | 193.5 | 0.0021586 | 64.0992 | 0.064099 | 0.21586 | 0.21515 | 0.0012898 | 0.5995% | 0.20619 | 0.0053491 | 2.594%
250A | 21.9997 | 21999.6667 | 0.21222 | 116 | 0.0018295 | 40.2477 | 0.040248 | 0.18295
250B |  |  | 0.48794 | 278.2 | 0.0017539 | 38.5855 | 0.038585 | 0.17539
250C |  |  | 0.30517 | 159.4 | 0.0019145 | 42.1178 | 0.042118 | 0.19145 | 0.18326 | 0.0080327 | 4.383%
300A | 23.5317 | 23531.7 | 0.22242 | 153.2 | 0.0014518 | 34.1637 | 0.034164 | 0.14518
300B |  |  | 0.35765 | 220 | 0.0016257 | 38.2546 | 0.038255 | 0.16257
300C |  |  | 0.31241 | 215.6 | 0.001449 | 34.0975 | 0.034098 | 0.1449 | 0.15088 | 0.010119 | 6.707% | 0.1444 | 0.0092172 | 6.383%
500A | 19.1695 | 19169.5333 | 0.54486 | 436.4 | 0.0012485 | 23.9337 | 0.023934 | 0.12485
500B |  |  | 0.23097 | 164.6 | 0.0014032 | 26.8994 | 0.026899 | 0.14032
500C |  |  | 0.21074 | 178.1 | 0.0011833 | 22.6825 | 0.022682 | 0.11833
500D |  |  | 0.23229 | 159.1 | 0.00146 | 27.9879 | 0.027988 | 0.146 | 0.13238 | 0.012946 | 9.78% | 0.12072 | 0.0080956 | 6.706%
1cm
100A | 45.7931 | 45793.1 | 0.38338 | 116.6 | 0.003288 | 150.566 | 0.15057 | 0.3288 | [6 empty] | weight noted as questionable
100B |  |  | 0.71813 | 163.7 | 0.0043868 | 200.8874 | 0.20089 | 0.43868
100C |  |  | 0.87168 | 185.6 | 0.0046966 | 215.0703 | 0.21507 | 0.46966 | 0.45417 | 0.030972 | 6.819%
110A | 46.7688 | 46768.7667 | 0.90546 | 304.5 | 0.0029736 | 139.0721 | 0.13907 | 0.29736
110B |  |  | 0.54768 | 191.8 | 0.0028555 | 133.5472 | 0.13355 | 0.28555
110C |  |  | 0.4709 | 168.6 | 0.002793 | 130.6261 | 0.13063 | 0.2793 | 0.2874 | 0.0091715 | 3.191%
120A | 40.7464 | 40746.4 | 0.78416 | 177.3 | 0.0044228 | 180.2117 | 0.18021 | 0.44228 | [6 empty] | sample suspect
120B |  |  | 0.64903 | 211 | 0.003076 | 125.3342 | 0.12533 | 0.3076
120C |  |  | 0.61678 | 196.3 | 0.003142 | 128.0264 | 0.12803 | 0.3142 | 0.3109 | 0.0066072 | 2.125%
130A | 39.0135 | 39013.5 | 0.59375 | 186.6 | 0.0031819 | 124.138 | 0.12414 | 0.31819
130B |  |  | 0.4233 | 133.4 | 0.0031732 | 123.7965 | 0.1238 | 0.31732
130C |  |  | 0.75344 | 238.1 | 0.0031644 | 123.4545 | 0.12345 | 0.31644 | 0.31732 | 0.00087602 | 0.2761%
140A | 36.5867 | 36586.7 | 0.55843 | 206.7 | 0.0027016 | 98.8442 | 0.098844 | 0.27016
140B |  |  | 0.55075 | 208.3 | 0.002644 | 96.7364 | 0.096736 | 0.2644
140C |  |  | 0.42484 | 167.1 | 0.0025424 | 93.0183 | 0.093018 | 0.25424 | 0.26294 | 0.0080625 | 3.066%
150A | 34.8873 | 34887.2667 | 0.51697 | 208.9 | 0.0024747 | 86.3363 | 0.086336 | 0.24747
150B |  |  | 0.40027 | 154.8 | 0.0025857 | 90.2083 | 0.090208 | 0.25857
150C |  |  | 0.44941 | 183 | 0.0024558 | 85.675 | 0.085675 | 0.24558 | 0.25054 | 0.0070192 | 2.802%
160A | 36.1556 | 36155.6 | 0.53386 | 234.6 | 0.0022756 | 82.2764 | 0.082276 | 0.22756
160B |  |  | 0.37723 | 161.8 | 0.0023315 | 84.2962 | 0.084296 | 0.23315
160C |  |  | 0.56918 | 220.6 | 0.0025801 | 93.2864 | 0.093286 | 0.25801 | 0.23957 | 0.016211 | 6.767%
175A | 28.0341 | 28034.0667 | 0.28357 | 141.3 | 0.0020068 | 56.2597 | 0.05626 | 0.20068
175B |  |  | 0.28357 | 139.6 | 0.0020313 | 56.9448 | 0.056945 | 0.20313
175C |  |  | 0.33885 | 149.9 | 0.0022605 | 63.3703 | 0.06337 | 0.22605 | 0.20995 | 0.013992 | 6.664%
200A | 29.6946 | 29694.6 | 0.26975 | 134.7 | 0.0020026 | 59.4654 | 0.059465 | 0.20026
200B |  |  | 0.39413 | 187.1 | 0.0021065 | 62.5515 | 0.062552 | 0.21065
200C |  |  | 0.4018 | 193.5 | 0.0020765 | 61.6609 | 0.061661 | 0.20765 | 0.20619 | 0.0053491 | 2.594%
250A | 21.9997 | 21999.6667 | 0.1899 | 116 | 0.001637 | 36.0144 | 0.036014 | 0.1637
250B |  |  | 0.45708 | 278.2 | 0.001643 | 36.1455 | 0.036145 | 0.1643
250C |  |  | 0.28203 | 159.4 | 0.0017693 | 38.9245 | 0.038924 | 0.17693 | 0.16831 | 0.0074711 | 4.439%
300A | 23.5317 | 23531.7 | 0.20986 | 153.2 | 0.0013698 | 32.2346 | 0.032235 | 0.13698
300B |  |  | 0.34038 | 220 | 0.0015472 | 36.4079 | 0.036408 | 0.15472
300C |  |  | 0.30506 | 215.6 | 0.001415 | 33.2962 | 0.033296 | 0.1415 | 0.1444 | 0.0092172 | 6.383%
500A | 19.1695 | 19169.5333 | 0.54 | 436.4 | 0.0012374 | 23.7204 | 0.02372 | 0.12374
500B |  |  | 0.20065 | 164.6 | 0.001219 | 23.3675 | 0.023367 | 0.1219
500C |  |  | 0.1945 | 178.1 | 0.0010921 | 20.9351 | 0.020935 | 0.10921
500D |  |  | 0.20372 | 159.1 | 0.0012804 | 24.5453 | 0.024545 | 0.12804 | 0.12072 | 0.0080956 | 6.706%
10cm
AL6-1 | 113.8366 | 113836.6 | 0.17863 | 258.3 | 0.00069157 | 13.2571 | 0.013257 | 0.069157
AL6-1 |  |  | 0.10987 | 170 | 0.0006463 | 12.3892 | 0.012389 | 0.06463
AL6-1 |  |  | 0.18013 | 206.7 | 0.00087144 | 16.7052 | 0.016705 | 0.087144
AL6-1 |  |  | 0.22049 | 253.3 | 0.00087046 | 16.6863 | 0.016686 | 0.087046
AL6-1 |  |  | 0.11137 | 135.3 | 0.0008231 | 15.7784 | 0.015778 | 0.08231 | 0.078057 | 0.0105 | 13.45%
AL6-18 | 322.4463 | 322446.3 | 0.1803 | 212.9 | 0.00084689 | 16.2345 | 0.016235 | 0.084689
AL6-18 |  |  | 0.18392 | 154.8 | 0.0011881 | 22.7759 | 0.022776 | 0.11881
AL6-18 |  |  | 0.24496 | 195.1 | 0.0012555 | 24.0681 | 0.024068 | 0.12555 | 0.10969 | 0.021908 | 19.97%
AL8-5 | 132.4615 | 132461.5 | 0.14576 | 170.8 | 0.00085337 | 16.3588 | 0.016359 | 0.085337
AL8-5 |  |  | 0.1933 | 190.5 | 0.0010147 | 19.4513 | 0.019451 | 0.10147
AL8-5 |  |  | 0.26256 | 255.6 | 0.0010272 | 19.6914 | 0.019691 | 0.10272 | 0.09651 | 0.0096959 | 10.05%
AL8-17 | 684.0673 | 684067.3 | 0.13227 | 164.5 | 0.00080405 | 15.4133 | 0.015413 | 0.080405
AL8-17 |  |  | 0.10298 | 149.6 | 0.00068839 | 13.1962 | 0.013196 | 0.068839
AL8-17 |  |  | 0.14592 | 203.6 | 0.0007167 | 13.7389 | 0.013739 | 0.07167 | 0.073638 | 0.0060288 | 8.187%

## HOE-PhoR P FLUX
| Trap | Sample | hrs | Total Mass | Total Mass | Mass of Sample | ug | ug | ug | mg/m2/d
cruise | ID | ID | time | from all traps | from all traps |  | P | P | P | P
|  |  |  | (mg) | (ug) | (ug) | measured | per ug sample | per depth
HOE-PhoR II DEAD P Content
HOE-PhoR II | 100-A
HOE-PhoR II | 100-B
HOE-PhoR II | 100-C
HOE-PhoR II | 100-D
HOE-PhoR II | 100-E
HOE-PhoR II | 100-F |  | 218.5833
HOE-PhoR II | 100-G |  | 218.5833
HOE-PhoR II | 100-H |  | 218.5833 | 45.7931 | 45793.1
|  | 100A |  |  |  | 116.6 | 0.39713 | 0.0034059 | 155.9669 | 0.54887 | weight noted as questionable
|  | 100B |  |  |  | 163.7 | 0.62794 | 0.0038359 | 175.6577 | 0.61817
|  | 100C |  |  |  | 185.6 | 0.71036 | 0.0038274 | 175.2663 | 0.61679
| mean | [8 empty] | 0.61748
| sd | [8 empty] | 0.0013775
| n | [8 empty] | 3
| CV | [8 empty] | 0.2231%
HOE-PhoR II | 110-A
HOE-PhoR II | 110-B
HOE-PhoR II | 110-C
HOE-PhoR II | 110-D
HOE-PhoR II | 110-E
HOE-PhoR II | 110-F |  | 218.5833
HOE-PhoR II | 110-G |  | 218.5833
HOE-PhoR II | 110-H |  | 218.5833 | 46.7688 | 46768.7667
|  | 110A |  |  |  | 304.5 | 0.89296 | 0.0029326 | 137.152 | 0.48266
|  | 110B |  |  |  | 191.8 | 0.55966 | 0.002918 | 136.4694 | 0.48026
|  | 110C |  |  |  | 168.6 | 0.48185 | 0.002858 | 133.663 | 0.47038
| mean | [8 empty] | 0.47777
| sd | [8 empty] | 0.0065072
| n | [8 empty] | 3
| CV | [8 empty] | 1.362%
HOE-PhoR II | 120-A
HOE-PhoR II | 120-B
HOE-PhoR II | 120-C
HOE-PhoR II | 120-D
HOE-PhoR II | 120-E
HOE-PhoR II | 120-F |  | 218.5833
HOE-PhoR II | 120-G |  | 218.5833
HOE-PhoR II | 120-H |  | 218.5833 | 40.7464 | 40746.4
|  | 120A |  |  |  | 177.3 | 0.77781 | 0.0043869 | 178.7523 | 0.62906 | sample suspect
|  | 120B |  |  |  | 211 | 0.63682 | 0.0030181 | 122.9769 | 0.43278
|  | 120C |  |  |  | 196.3 | 0.61626 | 0.0031394 | 127.9176 | 0.45016
| mean | [8 empty] | 0.44147
| sd | [8 empty] | 0.017387
| n | [8 empty] | 2
| CV | [8 empty] | 3.938%
HOE-PhoR II | 130-A
HOE-PhoR II | 130-B
HOE-PhoR II | 130-C
HOE-PhoR II | 130-D
HOE-PhoR II | 130-E
HOE-PhoR II | 130-F |  | 218.5833
HOE-PhoR II | 130-G |  | 218.5833
HOE-PhoR II | 130-H |  | 218.5833 | 39.0135 | 39013.5
|  | 130A |  |  |  | 186.6 | 0.59273 | 0.0031765 | 123.9256 | 0.43611
|  | 130B |  |  |  | 133.4 | 0.40486 | 0.0030349 | 118.4034 | 0.41668
|  | 130C |  |  |  | 238.1 | 0.73668 | 0.003094 | 120.7072 | 0.42479
| mean | [8 empty] | 0.42586
| sd | [8 empty] | 0.0097611
| n | [8 empty] | 3
| CV | [8 empty] | 2.292%
HOE-PhoR II | 140-A
HOE-PhoR II | 140-B
HOE-PhoR II | 140-C
HOE-PhoR II | 140-D
HOE-PhoR II | 140-E
HOE-PhoR II | 140-F |  | 218.5833
HOE-PhoR II | 140-G |  | 218.5833
HOE-PhoR II | 140-H |  | 218.5833 | 36.5867 | 36586.7
|  | 140A |  |  |  | 206.7 | 0.57743 | 0.0027936 | 102.2077 | 0.35969
|  | 140B |  |  |  | 208.3 | 0.56279 | 0.0027018 | 98.8509 | 0.34787
|  | 140C |  |  |  | 167.1 | 0.42921 | 0.0025686 | 93.9755 | 0.33072
| mean | [8 empty] | 0.34609
| sd | [8 empty] | 0.014567
| n | [8 empty] | 3
| CV | [8 empty] | 4.209%
HOE-PhoR II | 150-A
HOE-PhoR II | 150-B
HOE-PhoR II | 150-C
HOE-PhoR II | 150-D
HOE-PhoR II | 150-E
HOE-PhoR II | 150-F |  | 218.5833
HOE-PhoR II | 150-G |  | 218.5833
HOE-PhoR II | 150-H |  | 218.5833 | 34.8873 | 34887.2667
|  | 150A |  |  |  | 208.9 | 0.53449 | 0.0025586 | 89.2631 | 0.31413
|  | 150B |  |  |  | 154.8 | 0.43233 | 0.0027929 | 97.435 | 0.34289
|  | 150C |  |  |  | 183 | 0.46458 | 0.0025387 | 88.5675 | 0.31168
| mean | [8 empty] | 0.3229
| sd | [8 empty] | 0.017354
| n | [8 empty] | 3
| CV | [8 empty] | 5.374%
HOE-PhoR II | 160-A
HOE-PhoR II | 160-B
HOE-PhoR II | 160-C
HOE-PhoR II | 160-D
HOE-PhoR II | 160-E
HOE-PhoR II | 160-F |  | 218.5833
HOE-PhoR II | 160-G |  | 218.5833
HOE-PhoR II | 160-H |  | 218.5833 | 36.1556 | 36155.6
|  | 160A |  |  |  | 234.6 | 0.54075 | 0.002305 | 83.3376 | 0.29328
|  | 160B |  |  |  | 161.8 | 0.38314 | 0.002368 | 85.617 | 0.3013
|  | 160C |  |  |  | 220.6 | 0.57546 | 0.0026086 | 94.3156 | 0.33191
| mean | [8 empty] | 0.30883
| sd | [8 empty] | 0.020388
| n | [8 empty] | 3
| CV | [8 empty] | 6.602%
HOE-PhoR II | 175-A
HOE-PhoR II | 175-B
HOE-PhoR II | 175-C
HOE-PhoR II | 175-D
HOE-PhoR II | 175-E
HOE-PhoR II | 175-F |  | 218.5833
HOE-PhoR II | 175-G |  | 218.5833
HOE-PhoR II | 175-H |  | 218.5833 | 28.0341 | 28034.0667
|  | 175A |  |  |  | 141.3 | 0.29431 | 0.0020829 | 58.3913 | 0.20549
|  | 175B |  |  |  | 139.6 | 0.31142 | 0.0022308 | 62.5381 | 0.22008
|  | 175C |  |  |  | 149.9 | 0.29661 | 0.0019787 | 55.472 | 0.19522
| mean | [8 empty] | 0.20693
| sd | [8 empty] | 0.012496
| n | [8 empty] | 3
| CV | [8 empty] | 6.039%
HOE-PhoR II | 200-A
HOE-PhoR II | 200-B
HOE-PhoR II | 200-C
HOE-PhoR II | 200-D
HOE-PhoR II | 200-E
HOE-PhoR II | 200-F |  | 218.5833
HOE-PhoR II | 200-G |  | 218.5833
HOE-PhoR II | 200-H |  | 218.5833 | 29.6946 | 29694.6
|  | 200A |  |  |  | 134.7 | 0.29085 | 0.0021593 | 64.1189 | 0.22564
|  | 200B |  |  |  | 187.1 | 0.39976 | 0.0021366 | 63.4459 | 0.22328
|  | 200C |  |  |  | 193.5 | 0.41769 | 0.0021586 | 64.0992 | 0.22558
| mean | [8 empty] | 0.22483
| sd | [8 empty] | 0.0013478
| n | [8 empty] | 3
| CV | [8 empty] | 0.5995%
HOE-PhoR II | 250-A
HOE-PhoR II | 250-B
HOE-PhoR II | 250-C
HOE-PhoR II | 250-D
HOE-PhoR II | 250-E
HOE-PhoR II | 250-F |  | 218.5833
HOE-PhoR II | 250-G |  | 218.5833
HOE-PhoR II | 250-H |  | 218.5833 | 21.9997 | 21999.6667
|  | 250A |  |  |  | 116 | 0.21222 | 0.0018295 | 40.2477 | 0.14164
|  | 250B |  |  |  | 278.2 | 0.48794 | 0.0017539 | 38.5855 | 0.13579
|  | 250C |  |  |  | 159.4 | 0.30517 | 0.0019145 | 42.1178 | 0.14822
| mean | [6 empty] | 0.0018326 |  | 0.14188
| sd | [6 empty] | 8.0327e-05 |  | 0.006219
| n | [6 empty] | 3 |  | 3
| CV | [6 empty] | 4.383% |  | 4.383%
HOE-PhoR II | 300-A
HOE-PhoR II | 300-B
HOE-PhoR II | 300-C
HOE-PhoR II | 300-D
HOE-PhoR II | 300-E
HOE-PhoR II | 300-F |  | 218.5833
HOE-PhoR II | 300-G |  | 218.5833
HOE-PhoR II | 300-H |  | 218.5833 | 23.5317 | 23531.7
|  | 300A |  |  |  | 153.2 | 0.22242 | 0.0014518 | 34.1637 | 0.12023
|  | 300B |  |  |  | 220 | 0.35765 | 0.0016257 | 38.2546 | 0.13462
|  | 300C |  |  |  | 215.6 | 0.31241 | 0.001449 | 34.0975 | 0.11999
| mean | [8 empty] | 0.12495
| sd | [8 empty] | 0.0083799
| n | [8 empty] | 3
| CV | [8 empty] | 6.707%
HOE-PhoR II | 500-A
HOE-PhoR II | 500-B
HOE-PhoR II | 500-C
HOE-PhoR II | 500-D
HOE-PhoR II | 500-E
HOE-PhoR II | 500-F |  | 218.5833
HOE-PhoR II | 500-G |  | 218.5833
HOE-PhoR II | 500-H |  | 218.5833 | 19.1695 | 19169.5333
|  | 500A |  |  |  | 436.4 | 0.54486 | 0.0012485 | 23.9337 | 0.084227
|  | 500B |  |  |  | 164.6 | 0.23097 | 0.0014032 | 26.8994 | 0.094663
|  | 500C |  |  |  | 178.1 | 0.21074 | 0.0011833 | 22.6825 | 0.079823
|  | 500D |  |  |  | 159.1 | 0.23229 | 0.00146 | 27.9879 | 0.098494
| mean | [8 empty] | 0.089302
| sd | [8 empty] | 0.0087338
| n | [8 empty] | 4
| CV | [8 empty] | 9.78%

## AL6 & AL8 P FLUX
| Trap | DAYS | Total Mass | Total Mass | Mass of Sample | ug | ug | ug | mg/m2/d
cruise | ID | time | from all traps | from all traps |  | P | P | P | P
|  |  | (mg) | (ug) | (ug) | measured | per ug sample | per depth
AL6 & AL8
AL6-1/2/3 | 1 2 3 | 14.92 | 113.8366 | 113836.6
[5 empty] | 258.3 | 0.17863 | 0.00069157 | 78.726 | 0.010553
[5 empty] | 170 | 0.10987 | 0.0006463 | 73.5721 | 0.0098622
[5 empty] | 206.7 | 0.18013 | 0.00087144 | 99.2022 | 0.013298
[5 empty] | 253.3 | 0.22049 | 0.00087046 | 99.0904 | 0.013283
[5 empty] | 135.3 | 0.11137 | 0.0008231 | 93.6986 | 0.01256
| mean | [7 empty] | 0.011911
| sd | [7 empty] | 0.0016022
| n | [7 empty] | 5
| CV | [7 empty] | 13.45%
AL6-18 | 18 | 14.92 | 322.4463 | 322446.3
[5 empty] | 212.9 | 0.1803 | 0.00084689 | 273.0775 | 0.036606
[5 empty] | 154.8 | 0.18392 | 0.0011881 | 383.1086 | 0.051355
[5 empty] | 195.1 | 0.24496 | 0.0012555 | 404.8447 | 0.054269
| mean | [7 empty] | 0.04741
| sd | [7 empty] | 0.0094695
| n | [7 empty] | 3
| CV | [7 empty] | 19.97%
AL8-5 | 5 | 15.75 | 132.4615 | 132461.5
[5 empty] | 170.8 | 0.14576 | 0.00085337 | 113.0392 | 0.014354
[5 empty] | 190.5 | 0.1933 | 0.0010147 | 134.4083 | 0.017068
[5 empty] | 255.6 | 0.26256 | 0.0010272 | 136.0678 | 0.017278
| mean | [7 empty] | 0.016233
| sd | [7 empty] | 0.0016309
| n | [7 empty] | 3
| CV | [7 empty] | 10.05%
AL8-17 | 1 7 | 15.75 | 684.0673 | 684067.3
[5 empty] | 164.5 | 0.13227 | 0.00080405 | 550.0252 | 0.069844
[5 empty] | 149.6 | 0.10298 | 0.00068839 | 470.907 | 0.059798
[5 empty] | 203.6 | 0.14592 | 0.0007167 | 490.2734 | 0.062257
| mean | [7 empty] | 0.063966
| sd | [7 empty] | 0.005237
| n | [7 empty] | 3
| CV | [7 empty] | 8.187%