Chapter 21

PARTICULATE PHOSPHORUS

________________________________________________________________________

SUMMARY: Seawater is collected from known depths using CTD-rosette sampling procedures.  Subsamples are prefiltered (202 μm) and transferred to specially designed, calibrated filtration bottles, pressure filtered through combusted acid-rinsed glass fiber filters and stored frozen for subsequent analysis.  In the laboratory, the filters are combusted at 450-500C and the concentration of the resulting inorganic phosphorus is determined by colorimetric analysis.

________________________________________________________________________

21.1.  Rationale and Assay Principle

The PP procedure presented here is a modification of a method developed by soil scientists and marine chemists for particulates that can be homogenized into a fine powder.  The method relies on the conversion of organically-bound P compounds as orthophosphate, by high temperature combustion at 450-500C.  The orthophosphate is then extracted with 0.15 M HCl.  The liberated orthophosphate is reacted with a mixed reagent of molybdic acid, ascorbic acid and trivalent antimony to form phosphomolybdic acid.  This heteropoly acid is then reduced to the colored molybdenum blue complex by ascorbic acid and the solution is measured spectrophotometrically.  This procedure measures all forms of phosphorus which can be released by combustion and acid hydrolysis (Karl et al., 1991).

21.2.  Precautions

Contamination is a major potential problem with low-level PP analyses.  Combusted acid rinsed filters are used.  All sampling bottles, forceps, tubing and filtration bottles are also acid rinsed.

21.3.  Sampling, Filtration and Storage

21.3.1.	Seawater samples are collected in 12 l PVC water bottles and transferred directly to acid-cleaned filtration bottles.  The samples are transferred via Tygon tubing that incorporates an in-line 202 m Nitex screen prefilter to remove zooplankton or any other large particles that might otherwise affect the precision of the estimate.  The filtration bottles are 4 and 10 l HDPE aspirator bottles fitted with a valve assembly and tubing connection.

Once the rosette is on deck, the vent valve from each bottle is opened and one end of the drawing tube is attached to the outflow spigot of the sampling bottle and the other end to the tubing connector on the cap of the filtration bottle.  Particular attention is given to the orientation of the in-line screened drawing tube (the shorter, larger bore section is attached to the water bottle).  The filtration bottle valve is opened and 100-200 ml is passed through the transfer tube and valve assembly to rinse the sampling bottle. The bottle and cap are rinsed 3 times with sample water.  During the rinsing and filling operation, the filtration bottle cap valve is used to control and direct the sample flow.  After rinsing, the cap is placed on the bottle mouth (without tightening), the valve is opened and the HDPE bottle is filled to the calibration mark.

21.3.2.	After filling, the filtration bottles are inverted and placed into the filtration rack.  The contents are then pressure filtered (4-7 psi N2) through combusted in-line acid-rinsed 25 mm GF/F filters.

21.3.3.	Following filtration, clean forceps are used to transfer each filter to a combusted 16 x 100 mm glass test tube which is then covered with a 3.5 cm square piece of combusted foil.  Each sample is labeled and stored frozen (-20C).  Any water remaining in the carboy is measured to calculate the volume filtered.  This information and any other appropriate data are entered on the data sheet.

21.4.  Blank Determination

Standards are corrected for reagent blanks while samples are corrected for field filter blanks.

21.4.1.	Standards:  At least 2 reagent blanks are prepared and individual standard absorbances are corrected by the mean blank value.

21.4.2.	Samples:  The mean absorbance from 3 field filter blanks, stored and processed in the same manner as samples, are used to correct individual sample absorbances for filter, reagent and systematic procedural contamination.

21.5. Standards and Standard Reference Material (SRM)

    - Calibrate the microbalance to weigh apple leaves SRM.  Use combusted, acid-rinsed 25 mm GF/F filters cut in half as weighing paper. Add your apple leaves to be weighed.  Three to four replicates should be made each weighing approximately 0.8000 - 1.2000 mg.  Following their measurement place the filter and its contents very carefully so as not to lose any into a combusted acid rinsed 16 x 100 mm glass tube which is then covered with a 3.5 cm square piece of combusted foil.  These SRM samples should be stored and processed in the same manner as all samples.

    - A series of standards is prepared gravimetrically to cover the range from 0.05 – 15 μM (Typical concentrations used are 0.5, 1, 3, 5, 10, 12, 15 uM).  In creating your standard curve you will use the stock phosphate standard solution (1˚) and the working phosphate standard (2˚) (2˚; 1 ml of the stock phosphate standard is diluted to 10 ml with 0.15 M HCl).  1˚ and 2˚ stock phosphate standard solution should be added to its respective centrifuge tube and the mass recorded.  Then dilute tube up to 5 ml with 0.15 M HCl and record the total mass.  Below is an example spreadsheet of ideal mass measurements, however please record your own mass measurements.

| ~ ( ( (um) | Volume Std. | Mass 1( | Mass 2( | Total Mass | Tube | Absorbance |
| --- | --- | --- | --- | --- | --- | --- |
| 0 | - | - | - | - | A |  |
| 0.5 | 25 | - | 0.0250 | 5.0 | B |  |
| 1 | 50 | - | 0.0500 | 5.0 | C |  |
| 3 | 150 | - | 0.1500 | 5.0 | D |  |
| 5 | 250 | - | 0.2500 | 5.0 | E |  |
| 10 | 50 | 0.0500 | - | 5.0 | F |  |
| 12 | 60 | 0.0600 | - | 5.0 | G |  |
| 15 | 75 | 0.0750 | - | 5.0 | H |  |

21.6.  Analysis

21.6.1.	Samples are combusted in 16 x 100 mm test tubes at 450C for 4.5 hr in a muffle furnace.  The samples are then allowed to cool and 10 ml of 0.15 M HCl is added to each tube.

21.6.2.	The samples are then centrifuged for 30 min at 2800 x g.  Five ml of the supernatant is removed and placed into a sterile 15 ml polypropylene centrifuge tube.

21.6.3.	One-half ml of mixed reagent is added to samples and standards and mixed thoroughly.  Color is developed for 60 min and absorbance is read in a 1 cm cell at 880 nm against a 0.1 M HCl reference.  Standards are corrected for absorbance of reagent blanks and samples are corrected for absorbance of filter or procedural blanks.

21.7.  Data Reduction and Calculations

21.7.1.	Calculate mol l-1 of P from standard curve using:

mol l-1 = (x - b)/m

where:	x	= blank-corrected absorbance of sample

b	= y intercept of regression line

m	= slope of regression line

21.7.2.	Calculate g P l-1 using:

mol l-1 sample x 30.97376 g mol-1 = g P l-1 in sample extract

(g P l-1 in extract) /(1000 ml l-1) = g P ml-1

(g P ml-1 x 10.0 ml of extract) / vol in liters filtered = g P l-1

21.8.  Equipment/Supplies

Niskin Bottles & Rosette/CTD unit

low pressure N2 filtration apparatus (4-7 psi)

4 and 10 l HDPE carboys

Tygon tubing that incorporates and in-line 202 μm Nitex screen filter

muffle furnace

combusted, acid-rinsed 25 mm GF/F filters

acid-rinsed in-line filter holders

spectrophotometer and 1-cm cuvette

combusted (450C, 4.5 hr), acid-washed 16 x 100 mm glass tubes

volumetric flasks and volumetric pipettes

sterile 15 ml polypropylene centrifuge tubes

21.9.  Reagents

DI water

HCl (0.15M): Mix 24.8 ml hydrochloric acid into 2 l DI water

Ammonium molybdate solution:  Dissolve 15 g of ACS grade ammonium paramolybdate [(NH4)6 MO7O24 . 4H2O], in 500 ml DI water. Store in plastic bottle in the dark (solution is stable indefinitely)

H2SO4 (5 N): Mix 140 ml sulfuric acid into 1 l DI water (CAUTION:  reaction is exothermic)

Ascorbic acid solution:  Dissolve 0.54 g of ACS grade ascorbic acid in 10 ml DI Water (5.4% wt/vol), (prepare fresh)

Potassium antimonyl-tartrate solution:  Dissolve 0.34 g of ACS grade potassium antimonyl-tartrate (tartaremetic), in 250 ml DI Water (solution is stable for several months)

Mixed reagent:  Mix together 10 ml ammonium molybdate, 25 ml 5 N H2SO4, 10 ml  5.4% ascorbic acid and 5 ml potassium antimony tartrate (prepare fresh)

Stock phosphate standard solution (1000 M):  Dissolve 0.1361 g of dry KH2PO4, in 1000 ml of DI Water. Store in a dark bottle with 1 ml of chloroform.

Working phosphate standard (100 M):  Dilute 1 ml of the stock standard to 10 ml with 0.15 M HCl.

Standard Reference Material: Apple leaves

21.10.  References

Karl, D. M., J. E. Dore, D. V. Hebel and C. Winn.  1991.  Procedures for particulate carbon, nitrogen, phosphorus and total mass analyses used in the US-JGOFS Hawaii Ocean Time-series program.  In: Marine Particles:  Analysis and Characterization, D. C. Hurd and D. W. Spencer, editors, American Geophysical Union, Washington, D.C., pp. 71-77.